GROSSMONT COLLEGE

Official Course Outline

CARDIOVASCULAR TECHNOLOGY 231 – CLINICAL PRACTICUM II, ADULT ECHOCARDIOGRAPHY

1.	Course Number	Course Title	Semester Units	Semester Hours

CVTE 231	Clinical Practicum II,		5	15 hours laboratory

Adult Echocardiography

2.	Course Prerequisites

A “C” grade or higher in CVTE 121.

Corequisite

CVTE 221.

Recommended Preparation

None.

3.	Catalog Description

A laboratory course providing clinical practicum with emphasis on the calibration and operation of medical instrumentation used in the non-invasive labs in local hospitals and clinics with which the CVT Program is affiliated.  The performance of specified diagnostic tests, calculation of hemodynamic data, and professional performance in the clinical environment will be stressed.

4.	Course Objectives

The student will:

a.	Set up, calibrate, and operate electrocardiographs, exercise treadmills, pacemaker analyzers, Holter 	Electrocardiographic monitors, and echocardiographs in accordance with manufacturers’ specifications 	and criteria specified by the instructor.

b.	Execute standard electrocardiograms, ambulatory electrocardiograms, exercise stress tests, M-Mode, 2-D, continuous and pulse wave Doppler and color-flow Doppler echocardiograms, in accordance with criteria established by the American College of Cardiology, the American Society of Echocardiography and the instructor.

.	c.	Record, measure, and calculate specified cardiac function indices in accordance with criteria specified by the American Society of Echocardiography, the course text and the instructor.

d.	Formulate qualitative analysis of M-Mode and 2-D echocardiograms for anatomic continuity and segmental wall motion in accordance with criteria established by the course text and the instructor.

e.	Demonstrate proficiency in M-Mode, 2-D, Doppler, and color-flow echocardiography, exercise stress testing and 24-hour ambulatory Electrocardiographic monitoring in accordance with criteria established by the CVT Program Competencies, local laboratory policy and the instructor.

5.	Instructional Facilities

Echocardiography laboratories in local hospitals and clinics.

6.	Special Materials Required of Student

a.	Grossmont College issued picture identification.

b.	Basic electronic calculator.

c.	Lab coat with name badge and CVT patch.

d.	Stethoscope (optional).

e.	EKG calipers.

CARDIOVASCULAR TECHNOLOGY 231 – CLINICAL PRACTICUM II, ADULT ECHOCARDIOGRAPHY	page 2

7.	Course Content

a.	Each echocardiography student will spend an average of 15 hours per week in the clinical environment.

b.	Students will perform or assist in the performance of specified diagnostic tests for the detection of cardiovascular disease.

c.	Students participate fully in the day-to-day activities of the department to which they are assigned.

d.	This course provides the opportunity to use state-of-the-art instrumentation in the assessment of a typical patient population as seen in a modern cardiovascular diagnostic center.

8.	Method of Instruction

a.	Supervised clinical experience by preceptors who are technologists specializing in Echocardiography.

b.	The CVT Program instructors will provide oversight.

9.	Methods of Evaluating Student Performance

a.	The student will be scheduled for 240 hours of clinical experience in the fall semester.

b.	Weekly Clinical Log Sheet which includes times in and out, a description of the cases in which the student is involved, the percentage to which they were involved in each case, and the daily and weekly totals of hours.

c.	A final evaluation of the student’s performance will be written by the clinical proctor and assessed by the instructor.

10.	Outside Class Assignments

a.	Weekly clinical log sheets.

b.	Written case reports.

11.	Texts

a.	Required texts:

Otto, Catherine. Textbook of Clinical Echocardiography. Philadelphia, PA: Elsevier Publisher, 5th Edition. 2013.

b.	Supplementary texts and workbooks:

None.

Addendum: Student Learning Outcomes

Upon completion of this course, students will be able to do the following:

a.	Exhibit the appropriate and expected professional relationships between the Cardiovascular 	Technologist, the patient, the physician and other members of the healthcare team.

b.	Practice the fundamental operations of an Echocardiography Laboratory associated with the 	performance of cardiac ultrasound procedures

c.	Demonstrate and differentiate echocardiographic skills consistent with current level of instruction.

Date approved by the Governing Board:  May 20, 2014